## 1.1 Scope

This document outlines a comprehensive procurement list of reagents, standards, and consumables required for a 24-month research program focused on microalgae biosorption of NdFeB magnet manufacturing wastewater. The list covers all experimental phases, including initial leachate characterization, Definitive Screening Design (DSD) experiments (approximately 294 runs including Quality Control), Response Surface Methodology (RSM) optimization (90–162 runs), continuous-flow column studies, a 30-day pilot-scale validation (50–100 L reactor), and final sludge characterization. The total volume of synthetic leachate required for the experimental phases is estimated to be 200–300 liters.

## 1.2 ICP-MS/OES Analytical Reagents

Accurate, trace-level quantification of rare earth and transition metals is critical. This requires high-purity reagents, certified reference materials (CRMs) for calibration, and appropriate internal standards to correct for matrix effects and instrument drift.

### 1.2.1 Calibration Standards

Calibration will be performed using multi-element certified reference materials. Standards for rare earth elements (REEs) will be procured separately from transition metals to avoid interferences during preparation. A second-source verification standard is required to validate the primary calibration curve.

| Item | Description | Vendor | Catalog No. (Example) | Pack Size | Est. Price (USD) | Qty Needed |
| --- | --- | --- | --- | --- | --- | --- |
| REE Standard | 16-element mix (Sc, Y, La, Ce, Pr, Nd, Sm, Eu, Gd, Tb, Dy, Ho, Er, Tm, Yb, Lu) at 50 mg/L in 2% HNO₃. | Sigma-Aldrich (TraceCERT®) | 67349 | 100 mL | ~$300 | 2 |
| Transition Metal Standard | 30-element mix including Fe, Co, Ni, Cu, Al in dilute HNO₃. | Sigma-Aldrich (Certipur®) | 1.11355 | 100 mL | ~$250 | 2 |
| Boron Standard | Single-element 1000 mg/L Boron in H₂O, traceable to NIST SRM. | Sigma-Aldrich (Certipur®) | 1.70211 | 100 mL | ~$100 | 1 |
| Second-Source REE Standard | 10 ppm Rare Earth mix in 5% HNO₃. | Inorganic Ventures | CMS-1-125ML | 125 mL | $163 | 1 |

### 1.2.2 Internal Standards

An internal standard solution will be added online to all blanks, standards, and samples to correct for instrument drift and matrix suppression. The selected elements cover the full mass range of the target analytes.

| Item | Description | Vendor | Catalog No. (Example) | Pack Size | Est. Price (USD) | Qty Needed |
| --- | --- | --- | --- | --- | --- | --- |
| Internal Standard Mix | 6-Li, Sc, Ge, Rh, In, Tb, Lu, Bi at 100 mg/L in 10% HNO₃. | Agilent Technologies | 5188-6525 | 100 mL | $282 | 2 |
| Single-Element Rh Standard | Rhodium 10 mg/L in 0.5 M HNO₃ (for custom mixes). | Sigma-Aldrich (Certipur®) | 1.08525 | 100 mL | ~$150 | 1 |
| Single-Element Bi Standard | Bismuth 10 µg/mL in 2-5% HNO₃. | AccuStandard | IMS-111-100 | 100 mL | $30 | 1 |

### 1.2.3 Acids and Rinse Solutions

Trace-metal-grade acids are mandatory for sample digestion, preservation, and the preparation of blanks and standards to minimize elemental contamination. A complexing agent is required for the boron rinse solution to mitigate memory effects.

| Item | Description | Vendor | Catalog No. (Example) | Pack Size | Est. Price (USD) | Qty Needed |
| --- | --- | --- | --- | --- | --- | --- |
| Nitric Acid (HNO₃) | TraceMetal™ Grade, 67-70%. Evaluated for 65 metals at <1 ppb. | Fisher Chemical | A509P500 | 500 mL | $225 | 10 |
| Hydrochloric Acid (HCl) | TraceMetal™ Grade, 32-35%. | Fisher Chemical | A508P500 | 500 mL | $198 | 4 |
| D-Mannitol | Reagent grade, for boron rinse solution preparation. | Sigma-Aldrich | M9546 | 1 kg | ~$120 | 1 |

### 1.2.4 Digestion Consumables

Microwave digestion requires specialized PTFE vessels capable of withstanding high temperatures and pressures. Based on an estimated 600–800 total digestions for the project, several sets of vessels and liners will be required.

| Item | Description | Vendor | Catalog No. (Example) | Est. Price (USD) | Qty Needed |
| --- | --- | --- | --- | --- | --- |
| Microwave Digestion Vessels | XP-1500 Plus Standard Vessel Assembly, 100 mL, for CEM MARS 6 system. | CEM Corporation | 432020 | ~$500 / assembly | 3 sets of 12 |
| Vessel Liners | TFM Liner for XP-1500 Plus Vessels. Liners are consumable and require periodic replacement. | CEM Corporation | 432175 | ~$150 / liner | 24 |

## 1.3 Synthetic Leachate Salts

A high-fidelity synthetic leachate will be prepared for screening and optimization experiments. The target recipe is based on typical compositions of real NdFeB leachates: Fe 5000 mg/L, Nd 1500 mg/L, Dy 120 mg/L, Pr 300 mg/L, B 500 mg/L, Co 100 mg/L, Cu 50 mg/L, Ni 50 mg/L, and Al 50 mg/L. Reagent-grade salts are sufficient for this purpose.

| Metal | Salt Form (Example) | Vendor | Catalog No. (Example) | Mass per Liter (g/L) for 300L Batch | Total Mass (kg) |
| --- | --- | --- | --- | --- | --- |
| Iron (Fe) | Iron(III) Chloride Hexahydrate (FeCl₃·6H₂O) | Sigma-Aldrich | 236489 | 24.2 | 7.26 |
| Neodymium (Nd) | Neodymium(III) Chloride Hexahydrate (NdCl₃·6H₂O) | Sigma-Aldrich | 228968 | 5.2 | 1.56 |
| Praseodymium (Pr) | Praseodymium(III) Chloride Hexahydrate (PrCl₃·6H₂O) | Sigma-Aldrich | 203360 | 0.8 | 0.24 |
| Dysprosium (Dy) | Dysprosium(III) Chloride Hexahydrate (DyCl₃·6H₂O) | Sigma-Aldrich | 439607 | 0.3 | 0.09 |
| Boron (B) | Boric Acid (H₃BO₃) | Fisher Chemical | A73-500 | 2.9 | 0.87 |
| Cobalt (Co) | Cobalt(II) Chloride Hexahydrate (CoCl₂·6H₂O) | Sigma-Aldrich | 255599 | 0.4 | 0.12 |
| Copper (Cu) | Copper(II) Chloride Dihydrate (CuCl₂·2H₂O) | Sigma-Aldrich | 307483 | 0.1 | 0.03 |
| Nickel (Ni) | Nickel(II) Chloride Hexahydrate (NiCl₂·6H₂O) | Sigma-Aldrich | 654579 | 0.2 | 0.06 |
| Aluminum (Al) | Aluminum Chloride Hexahydrate (AlCl₃·6H₂O) | Sigma-Aldrich | 237078 | 0.4 | 0.12 |

## 1.4 Microalgae Culture Reagents

BG-11 medium is a standard formulation for freshwater cyanobacteria and many green algae. Reagents can be purchased individually or as pre-made kits. Strains can be acquired from public culture collections such as UTEX (USA), SAG (Germany), or CCAP (UK).

| Item | Description | Vendor | Catalog No. (Example) | Pack Size | Est. Price (USD) | Qty Needed |
| --- | --- | --- | --- | --- | --- | --- |
| BG-11 Media Kit | Pre-measured components to prepare 100 Liters of medium. | UTEX | N/A | 100 L Kit | $1,500 | 3 |
| Sodium Nitrate (NaNO₃) | ACS Reagent, ≥99.0% | Fisher Chemical | BP360-500 | 500 g | ~$75 | 1 |
| Dipotassium Phosphate (K₂HPO₄) | BioXtra, ≥99.0% | Sigma-Aldrich | P3786 | 1 kg | ~$150 | 1 |
| Magnesium Sulfate (MgSO₄·7H₂O) | ACS Reagent, ≥98.0% | Sigma-Aldrich | 230391 | 500 g | ~$80 | 1 |

## 1.5 Immobilization Materials

For experiments involving immobilized biomass, sodium alginate is used to form calcium alginate beads. A low-to-medium viscosity sodium alginate is suitable for this application.

| Item | Description | Vendor | Catalog No. (Example) | Pack Size | Est. Price (USD) | Qty Needed |
| --- | --- | --- | --- | --- | --- | --- |
| Sodium Alginate | BioReagent, from brown algae, suitable for immobilization of micro-organisms. | Sigma-Aldrich | 71238 | 100 g | ~$140 | 3 |
| Calcium Chloride (CaCl₂) | Anhydrous, granular, ≥93.0% | Sigma-Aldrich | C1016 | 500 g | ~$60 | 1 |

## 1.6 Filtration and Sampling

All aqueous samples for dissolved metals analysis must be filtered prior to acidification and analysis. PVDF syringe filters are recommended for their low protein binding and broad chemical compatibility.

| Item | Description | Vendor | Catalog No. (Example) | Pack Size | Est. Price (USD) | Qty Needed (Est.) |
| --- | --- | --- | --- | --- | --- | --- |
| Syringe Filters | Whatman GD/X 25 mm Sterile Syringe Filter, 0.45 µm PVDF membrane. | Whatman / Cytiva | 6900-2504 | 50/pack | $277 | 60 packs (3000 total) |
| HDPE Bottles | High-Density Polyethylene bottles, wide mouth, acid-washed. | Nalgene/Fisher | Multiple | 125 mL | ~$2 / bottle | 500 |
| Polypropylene Tubes | Conical centrifuge tubes for boron sample storage to avoid glass contamination. | Falcon/VWR | Multiple | 50 mL | ~$0.50 / tube | 1000 |

## 1.7 COD/BOD/TOC Reagents

Analysis of organic load will be conducted using commercially available spectrophotometric test kits.

| Item | Description | Vendor (Example) | Notes |
| --- | --- | --- | --- |
| COD Vials | Dichromate method colorimetric vials (e.g., Low Range, High Range). | HACH | Requires spectrophotometer and digestion reactor. |
| BOD Reagents | Pre-measured pillows for standard 5-day BOD test. | HACH | Requires incubator and DO meter. |
| TOC Standards | Total Organic Carbon standards for instrument calibration. | Multiple | Instrument-specific. |

## 1.8 Pilot-Scale Consumables

The 30-day pilot validation will require continuous operation of a 50-100 L reactor system. Key consumables include pump tubing, probes, and lighting.

| Item | Description | Vendor (Example) | Notes |
| --- | --- | --- | --- |
| Peristaltic Pump Tubing | PharMed® BPT or equivalent for long life and chemical resistance. | Cole-Parmer | Size dependent on pump head and flow rate requirements. |
| pH / DO Probes | Combination pH electrodes and Dissolved Oxygen probes compatible with controller. | Mettler Toledo / Hanna | Requires periodic calibration and replacement. |
| LED Grow Lights | Full-spectrum LED panels suitable for promoting microalgal growth. | Multiple | Wattage and spectrum depend on reactor design. |

## 1.9 Summary Budget Table

The following table provides a high-level summary of the estimated consumables budget for the 24-month program, based on the quantities and prices listed above.

| Category | Estimated Total Cost (USD) | % of Consumables Budget |
| --- | --- | --- |
| ICP-MS Analytical Reagents (Standards, Acids) | $7,500 | 17.0% |
| Synthetic Leachate Salts | $4,200 | 9.5% |
| Microalgae Culture Reagents (Kits & Bulk) | $5,500 | 12.5% |
| Immobilization & General Lab Chemicals | $1,000 | 2.3% |
| Filtration & Sampling (Filters, Bottles, Tubes) | $17,820 | 40.5% |
| Digestion Consumables (Vessels, Liners) | $7,000 | 15.9% |
| Grand Total (Estimated) | $44,020 | 100% |

This estimated consumables budget of approximately $44,000 represents a small fraction of a typical multi-year research program budget, underscoring that analytical throughput and personnel time are the primary cost drivers.